## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver4.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: CGM, DPSP, NABARD Head Office Mumbai
Name of Work: COMPREHENSIVE TENDER FOR DEVELOPING EXPERIENCE CENTER INCLUDING INTERIORS, SITC OF AV SYSTEMS WITH CONTENT REPURPOSING, PROGAMMING AND CONTENT MANAGEMENT SYSTEM.
Contract No:
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder With Taxes Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT with taxes In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Interior Works | 1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Barricading Works - Demarcate site clearly as per the approved drawing. Then providing and erecting full height barricading from floor to ceiling slab height (approx height of 3.6 m) along the boundary of open two sides(with a suitable allowance from the demarcation to allow free space for working near boundary side) to cover the open side of the site and to separate the working area. The barricading shall be made before starting the demolition/construction work. The barricading shall be made temporarily using plywood fixed to MS frame of suitable strength to prvent the overturning and falling. The barricaded area shall be provided with the safety tapes, caution boards and other safety instructions. The barricading provided shall be retained in position till the completion of the work. Rate to incude its maintenance for damages, all labour, material, equipment etc. complete including shifting of existing scanning machine placed near to the entrance of proposed Experience Center to the other side of reception (south side) in the entrance lobby as per the instrcution of the consultant/ NABARD officer in charge. The barricading shall not be removed without prior permission and the same shall remain to be the property of the contractor on completion of the job. | 2 | 1 | Lumpsum | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Demolition Works - Dismantling, masonry /wooden partition/wooden panelling/false ceiling/ac duct/sealing of ac duct etc .by mechanical/physical means as approved by bank in the demarcated site with minimum disturbance of sound , clearing of entire debris from the site carefully and making good damaged surfaces with 1:4 cement plaster including removal of debris from site to the designated place at the yard of the premises in gunny bags and to be stored there and periodically it will be removed to the dumping yard of the Municipal Corporation. The working site and it's influence area in the premises shall be thoroughly cleaned on daily basis at the end of the working day and remove the debris outside the office to municipal dumping grounds on regular intervals, including the cost of cleaning consumables, machinery etc. complete by deploying a team of workmen and trained cleaning persons during the course of construction and fit out till Hand over stage, as per instructions & direction.Complete. | 3 | 1 | Lumpsum | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | Floor Guard - Providing laying and removing 250GSM PP Cello bubble guard floor protector protecting tile flooring and disposal of debris as directed. | 4 | 200 | Square meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | Aerated Concrete Block Masonry: Providing Autoclaved Aerated Concrete Block masonary of conforming to IS:2185 (Part 3) - 1984 in extra fine jointing mortar of fixoblock of UltraTech or equivalent as approved by NABARD in superstructure including striking joints, raking out joints and scaffolding etc. including cutting for flooring tiles for installtion of base block etc.complete. | 5 | 2.88 | cubic meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.05 | PLASTER to Wall: Providing and applying Ready Mix plaster of average 12 mm thickness confirming to IS:4031(Part-4) 1988 and IS 383-1970 in a single coat using Cement mortar of proportion 1:4 containing polymer additives and/ or polypropylene fibers as per manufacturers specifications to all type of surfaces in all positions including scaffolding, curing, labour charges etc. complete. | 6 | 135.84 | Square Meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.06 | Plaster of Paris Punning: Providing and applying plaster of paris of average 6mm thickness over plastered surface in all position including preparing the surface including cost of materials, labour charges, scaffolding etc. complete. | 7 | 271.68 | Square Meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.07 | Panelling: Providing and fixing 18mm marine grade ply confirming to IS710 on existing wall with screws in perfect line and level as per the drawing/instruction of the consultant/NABARD. Flexiply shall be used for curved portion as per design including cost of all materials, labour charges etc. complete. | 8 | 13.64 | Square Meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.08 | ALUMINUM FRAME WORK FOR SUB BASE: Providing and fixing aluminum frame work with Anodized Aluminium hollow tubes of size 50x50x1.5 mm thickness at 600mmx600mm c/c bothways fixed to walls. The sections shall be joint together using L clamps and fixed to the walls, floors and soffit at 600 mm centers with nylon sleeves and wood screws. Rates shall also be included providing required holes/ face plate for drawing conduits of electrical, networking cables and other service provisions, etc. complete in all respects. | 9 | 185.63 | Square Meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | 12 MM PLY PANELLING: Providing and fixing 12mm ply on existing aluminum frame work with screws in perfect line and level and as per the drawing/instruction of the consultant/NABARD. Flexiply shall be used for curved portion as per design including cost of all materials, labour charges etc. complete. Ply shall confirm to IS 710 marine grade only | 10 | 222.7 | Square Meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.1 | 12MM SOLID ACRYLIC - Supplying, Installing and fabricating on site 12mm thickness Solid aryclic sheet of approved make, shade and size as per guidelines and reccomendations of the manufacturer and as per the approved drawing/instruction of the consultant/NABARD including cost of all materials, labour charges etc. complete | 11 | 264.84 | Square Meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.11 | Carpet: Providing & Fixing in position, Carpet more than 800+ gsm, made with100% stain proof fibres of approved make along with 5mm underlay as per approved Architectural & Acoustical Design and Instructions of the consultant/NABARD including costs of all materials, labour charges, finishing etc. to complete the work in all aspects . | 12 | 145 | Square Meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | CARPET EDGE PROFILE: Providing and fixing on site Carpet floor transition profile in matching anondised finish 32x6mm fixed with screws as per manufacture specifications of IQUBX CP32 make or equivalent and finishing the edges properly and seamlessly with the existing flooring. Rate to include costs of all materials, labour charges etc. to complete the work in all respects as per the directions of the consultant/NABARD. | 13 | 25 | Per Meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.13 | FALSE CEILING: Providing & Fixing in position, Acoustical Ceiling made of 12mm. thick Gypsum Plain Panels of approved make on heavy duty G.I. frame ceiling channels of approved make at 450mm centre to centre and intermediate channels not more than 1200 mm centre to centre, along with ply wood forms suspended with Hangers from Roof slab, in front of 1000 Gsm synthetic wool 50 mm thick, and Painting the false ceiling surface and edges with two or more coats of 100% acrylic emulsion with base coat of cement primer, including cost of required Cut-Outs, decorative mouldings / finishing-items & Scaffolding, as per Architectural & Acoustical Design and Instructions of the consultant/NABARD including costs of all materials, labour charges,finishing etc complete to complete the work in all repect. | 14 | 180 | Square meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | FALSE CEILING PERFORATED PANELS: Providing & Fixing in position, Acoustical Ceiling made from Gypsum 12MM Thickess GYPSUM ALONG WITH PER RIGITONE6/18 sheet on heavy duty G.I. frame ceiling channels of make as approved by NABARD at 450 mm c to c, & intermediate channels not more than 1200 mm c to c, along with ply wood forms suspended with Hangers from Roof slab, in front of 1000 Gsm synthetic wool 50 mm thickness, and Painting the false ceiling surface and edges with two or more coats of 100% acrylic emulsion with base coat of cement primer, including cost of required Cut-Outs, decorative mouldings / finishing-items & Scaffolding, as per Architectural & Acoustical Design and Instructions of the consultant/NABARD including costs of all materials, labour charges,finishing etc. complete to complete the work in all repect. | 15 | 45 | Square meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.15 | SOILD ACRYLIC EDGE BAND: Providing & Fixing in position,ceiling consiting of 12mm marine grade ply with supporting frame in 50mmx50mmx1.5mm(thickness) aluminum frame suspended from roof slab. The ply surface including it's edges will be finished with 12mm thickess solid acrlyic sheet in profile bended/ curve as shown on drawing or as per the directions of consultant/NABARD, including costs for all materials labour,finishing, scafolding, other necessary bye-works etc. complete to complete the work in all respects. | 16 | 32 | Square meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.16 | Partition: Providing and fixing Full ht double skin Partitions / Full height Partly Glazed & Partly solid partitions as per specification including wooden skirting with laminate finish complete as per drawings and instructions. Complete in all respects. The rate shall be inclusive of the necessary hardware, labour charges etc. complete. Main frame - Aluminum 16G pipe grid work of 50mmx35mm at 600mmc/c with joints staggered to avoid through joints or equavalent with extra frame below slab soffit for conduit to run above. All verticals secured to slab ceiling. Skin:- Both side with 12 mm thickness marine ply screwed to frame work on both sides with joints as shown in the design or directed. The rate shall be inclusive of Patta with grooves, borders, bottom, middle & top, all materials, labour charges etc. complete . Providing and fixing 50mm thk fiber glass wool packed in polyweave packets inside partitions frame ( density 48kg/cu.m) Finishing : Both side finished in 12mm thk Solid acrylic sheet (measured seperately) | 17 | 14.57 | Square meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.17 | Sofa : Providing and fixing sofa set to detail as shown in the drawing about 60cm wide and about 68cm high comprising wooden frame work using 50mm x 40mm with 12 mm thickness commercial plywood covering on all sides. Seats finished with spring hooked to MS plate 25mm width fixed to the seat frame. Both seat frame and back covered with layer of jute cloth and 75mm latex rubber (2 layer for seat alone) finished with 12mm foam lining and uphostered to shape with fabric (basic price inclusive tax- Rs.800/m) and for the rear of the back and the under surface of the seat finished with Gada cloth over 8mm thickness commercial ply. Note: (For sofas materials like foam, latex rubber, gadacloth, spring ,fabric etc., to be approved by the Consultant//NABARD). (Basic cost inclusive of tax-₹ 85000/-) Model for reference, Featherlite ZL2626 | 18 | 1 | Per Number | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.18 | Sofa: Providing and fixing sofa set to detail as shown in the drawing about 60cm wide and about 68cm high comprising wooden frame work using 50mm x 40mm with 12 mm thick commercial plywood covering on all sides. Seats finished with spring hooked to MS plate 25mm width fixed to the seat frame. Both seat frame and back covered with layer of jute cloth and 75mm latex rubber (2 layer for seat alone) finished with 12mm foam lining and uphostered to shape with fabric (basic price inclusive tax- Rs.800/m) and for the rear of the back and the under surface of the seat finished with Gada cloth over 8mm thick commercial ply. Note: (For sofas materials like foam, latex rubber, gadacloth, spring ,fabric etc., to be approved by the Consultant//NABARD. Model for reference: Featherlite REC 1167 ( Basic Cost 45000/-) | 19 | 1 | Per Number | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.19 | VR Sofa - Featherlite Single sofa recliner or equivalent as approved by NABARD/Consultant | 20 | 1 | Per Number | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.2 | ROLLER BLINDS: Providing and Fixing Roller Blinds AMI Make or equivalent & shade as approved by NABARD/Consultant with 38mm round Aluminium channel with Blackout fabric & telting with chain (Ball) system with all necessary fixtures and fitting etc. complete. (Sample to be approved by the Consultant/NABARD prior execution of work) | 21 | 19.2 | Square Meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.21 | Motor: Supplying and fixing electric motor for operating the roller blinds in 3 parts with overlap lap of 100mm with one electric motor for each blind with remote control | 22 | 3 | Per Number | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.22 | MS fabrication work: Providing & Fixing in position, MS fabrication work using angles, sqr tubes, "C" channels etc for various partition frame as per Design & Instructions & Complete in all aspects . including all materials labour,finishing etc complete | 23 | 300 | Per Kilogram | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.23 | Acoustical Insulation: Providing & Fixing in position, Fabric wrapped Compressed polyester fibre nonwoven 9mm panels above the ceiling and location as directed, using adhesive, as per Architectural & Acoustical Designand Instructions of the Consultant Complete in all aspects. including costs of all materials labour,finishing etc complete | 24 | 65 | Square Meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.24 | Sensor Door: Providing and installing motorised single leaf sliding Sensor door of 1.65mx2.4m consisting of following materials:- 12mm thk toughend clear glass door with anondised slim aluminum profile border ( ozone make) Top mounted Actuator mechansim to take to appropraite weight: Dorma/ozone/Geze. Pair of microwave radar Built in photocells M.S support structure consist of ISMC 200X75, along with supporting structure from roof with hold fast finish in one coat of metallic primer and two coats of synthetic enamel paint. Covered with removable aluminum profile plate, including costs of all materials, loading unloading transportation insurane, labour etc. complete. | 25 | 4 | Per Number | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.25 | Removing and dismantling existing glass partition with door | 26 | 45.12 | Square Meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.26 | FIXED TOUGHENED GLASS PARTITION: Providing and fixing fixed glass façade made out of 12mm thick clear float toughened glass fixed at top and bottom with aluminum clip, rate inclusive of all hardware. Complete | 27 | 45.12 | Square Meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.27 | SWITCHABLE GLASS PARTITION: Providing and installing 12mm thickness toughend glass fixed panel with slim anodised aluminum profile border ( ozone make or equivalent as approved by the consultant) with PDLC(Polymer dispered liquid crystal) technology, milky white colour with all electrical power transformer, switch control, remote control, dimming control and installation accessories. The installation shall be as per approved manufacturer reccomendation and guidelines( Royal Tint make or equivalent as approved by the consultant)etc.complete | 28 | 6.24 | Square Meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.28 | Removal of existing wall and column marble cladding: Dismantling of the existing marble cladding including removal of debris from site to the designated temporary dump yard in the premises in gunny bags and shall be lifted and removed from there by dumping truck and shall be disposed in Municipal dumpyard in frequent intervals. Transportion of debris of floor office area to approved dumping ground by mini dumper, to be loaded and removed from site during approved dumping hours without causing any nusiance to other offices in premises, Complete. | 29 | 97.4 | Square Meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.29 | Painting: Providing and applying Royale Luxury Emulsion (100% acrylic) of approved make on internal wall surface as detailed below Scrapping for surface with emery paper and wipe clean for area. wall primer with brush by adding mineral turpentine oil by 8 to 10 % or water by 15 to 20% allowing to dry for 6 to 8 hours after applying acrylic wall putty with appropriate proportion of water of allow to dry for period of 4 to 6 hours of activity. Scrapping with emery paper and wipe clean. Applying paints Royale Luxury emulsion 1st coat with brush water content water 40 to 45% or 65 to 70% by roller. Applying paints Royale luxury emulsion 2nd coat with brush with water content 40 to 45% or 65 to 70 % by roller | 30 | 320 | Square Meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.3 | WATER PROOFING REPAIR WORK: Providing and laying Hyperplas Aluminium or equivalent polymeric multiple monolithic five layer water proofing flexible, pliable and high tensile strength membrane (3 Kilogram/ One Square Metre) which is comprise of top with "V" shape embossed 40 micron Aluminium foil to bear thermal expansion and avoiding delamination & consist of centre core of 90 micron thick High Molecular High density Polyethylene film (HMHDPE) which is protected on both the side with polymeric mix. Applying the membrane by thermofusing to roof & parapet after applying thin film of hot blown bitumen 85/25 or 90/15 grade @ 1.2 Kilogram/ One Square Metre maximum as per surface condition or Hyperplas primer @ 250 gms/ One Square Metre as per site condition on the surface to be treated with 10 cm overlapping including finishing etc. complete and covering guarantee of 7 years on stamp paper of Rs. 100/- and as directed by the Consultant/NABARD. | 31 | 85 | Square Meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.31 | Providing and laying mechanical protective layer over water proofing membrane with cement screed plaster 1:3 after laying chicken mesh over membrane including curing etc. complete 20 mm thick with cost of chicken mesh etc. complete and covering 7 years guarantee on court stamp paper of Rs.100/- including necessary testing specified by Engineer | 32 | 85 | Square Meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.32 | DOOR TO PARTITION: Providing and fixing solid core flush door shutter commercial in single leaf 32 mm thick commercial type of exterior grade as per detailed drawings with conceled hinges, allen key lock, finished externally with 12mm thk solid arcylicsheet and internally with 1.0mm thk laminate, 12mm thk solid acrylic lourves are to be provided in front as per the drawings or directions of consultant. Door shall be provided with required fittings of dorma or equivalent make harware as approved, autoclosing hinges, etc. complete in all respects. | 33 | 3.15 | Square Meter | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2 | Electrical Works | 34 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | EARTHING & SAFETY REQUIREMENT - Supply & making following Earthing station as per IS 3043 by using Cu. plate / Pipe / Rod earthing as electrode complete with watering pipe, 50mm x 6 mm connecting GI strip up to chamber, soil treatment with bentonite powder, readymade PVC inspection chamber of suitable size with 400 x 400 mm PVC cover, disconnecting link complete including excavation of earth pit, refilling as detailed below. Note: No charcoal & salt shall be used unless approved in writing: Earthing as above but using maintenance free CU earth electrode with chemical treatment 3mtr. Long with Inner pipe dia.40mm & Outer pipe dia.80mm (min) including boring of hole upto 4.5 mtrs. in all types of strata as required & as per provided Earthing details. | 35 | 4 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.02 | EARTHING & SAFETY REQUIREMENT - Supply & making following Earthing station as per IS 3043 by using Cu. plate / Pipe / Rod earthing as electrode complete with watering pipe, 50mm x 6 mm connecting GI strip up to chamber, soil treatment with bentonite powder, readymade PVC inspection chamber of suitable size with 400 x 400 mm PVC cover, disconnecting link complete including excavation of earth pit, refilling as detailed below. Note: No charcoal & salt shall be used unless approved in writing - 25mm X 3 mm thk. GI strip. | 36 | 50 | Rmt | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.03 | EARTHING & SAFETY REQUIREMENT - Supply & making following Earthing station as per IS 3043 by using Cu. plate / Pipe / Rod earthing as electrode complete with watering pipe, 50 x 6 mm connecting GI strip up to chamber, soil treatment with bentonite powder, readymade PVC inspection chamber of suitable size with 400 x 400 mm PVC cover, disconnecting link complete including excavation of earth pit, refilling as detailed below. Note: No charcoal & salt shall be used unless approved in writing - 6 sq. mm. LSZH cable insulated copper wire. ( Yellow- Green Colour) | 37 | 100 | Rmt | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.04 | EARTHING & SAFETY REQUIREMENT - Supply & making following Earthing station as per IS 3043 by using Cu. plate / Pipe / Rod earthing as electrode complete with watering pipe, 50 x 6 mm connecting GI strip up to chamber, soil treatment with bentonite powder, readymade PVC inspection chamber of suitable size with 400 x 400 mm PVC cover, disconnecting link complete including excavation of earth pit, refilling as detailed below. Note: No charcoal & salt shall be used unless approved in writing - Supply and Installation of Earth Busbar Box (RPMS standard earth bus) with 400mm X 6 mm GI strip 500 mm long on suitable insulator. Strip shall be provided with 8mm holes at every 75 mm with nutbolts & washers. | 38 | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.05 | Supply, installation of material safety equipment required as per statutory provision and safety - 4.5 kg Co2 fire extinguisher | 39 | 1 | Set | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.06 | M. V. DISTRIBUTION BOARD: Supply, installation, testing, tagging, (Circuit numbering) & commissioning of following double door readymade recessed type MCB, DB, fabricated out of CRCA sheet and painted with powder coating process OR made out of scratch proof polycarbonate body, & concealed in wall, or on surface with necessary frame complete as required. 4 WAY VTPN DB, 1no. of 63A FP RCCB 100mA Si as Incomer and 4 no. of TP MCB as Outgoing And 5 no. of 32A TP as Outgoing | 40 | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.07 | M. V. DISTRIBUTION BOARD: Supply, installation, testing, tagging, (Circuit numbering) & commissioning of following double door readymade recessed type MCB, DB, fabricated out of CRCA sheet and painted with powder coating process OR made out of scratch proof polycarbonate body, & concealed in wall, or on surface with necessary frame complete as required. 12 WAY SPN, 1 no. of 25A DP RCCB 30mA Si as incomer , 10 no. of 10A SP MCB as outgoing . | 41 | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.09 | M. V. DISTRIBUTION BOARD: Supply, installation, testing, tagging, (Circuit numbering) & commissioning of following double door readymade recessed type MCB, DB, fabricated out of CRCA sheet and painted with powder coating process OR made out of scratch proof polycarbonate body, & concealed in wall, or on surface with necessary frame complete as required. 08 WAY TPN 1 no. of 63A FP RCCB 30mA MCB and 24 no. of 16A SP MCB as outgoing . | 43 | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.1 | Supply, fixing, testing, following readymade modular IP20 Power sockets with switch / Industrial sockets with MCB's of different ratings in ready made box. Box should be suitable to terminate cables / wires easily, complete as required. Supply and Installation of Industrial type 16 A 1PH. Plug & socket with 16A SP MCB 3 pin type | 44 | 12 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.11 | CABLES - Supply, testing, tagging, laying & commissioning following sizes off 1100 Volt grade, LSZH insulated armoured / unarmored, Al. / Cu. Conductor multicore cable in readymade RCC trench, in PVC pipe, full round RCC pipe hume pipe, on cable trays / ladders etc.as. required complete with clamps for fixing. ((650/1100V LV Power cables, Stranded Annealed Copper or Stranded Aluminium Conductor, Crosslinked Polyethylene Insulation, PP Filler, LSZH ST8 Inner Sheath, Galvanized steel wire or Galvanized steel strip Armouring or Aluminium wire armouring, Black LSZH ST8 Outer sheath.) 4C X 16 Sq.mm. A2XFY cable. | 45 | 50 | Rmt | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.12 | CABLES: Supply, testing, tagging, laying & commissioning following sizes off 1100 Volt grade, LSZH insulated armoured / unarmored, Al. / Cu. Conductor multicore cable in readymade RCC trench, in PVC pipe, full round RCC pipe hume pipe, on cable trays / ladders etc.as. required complete with clamps for fixing. ((650/1100V LV Power cables, Stranded Annealed Copper or Stranded Aluminium Conductor, Crosslinked Polyethylene Insulation, PP Filler, LSZH ST8 Inner Sheath, Galvanized steel wire or Galvanized steel strip Armouring or Aluminium wire armouring, Black LSZH ST8 Outer sheath.) 4C X 6 Sq.mm. 2XWY cable. | 46 | 50 | Rmt | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.13 | CABLES - Supply, testing, tagging, laying & commissioning following sizes off 1100 Volt grade, LSZH insulated armoured / unarmored, Al. / Cu. Conductor multicore cable in readymade RCC trench, in PVC pipe, full round RCC pipe hume pipe, on cable trays / ladders etc.as. required complete with clamps for fixing. ((650/1100V LV Power cables, Stranded Annealed Copper or Stranded Aluminium Conductor, Crosslinked Polyethylene Insulation, PP Filler, LSZH ST8 Inner Sheath, Galvanized steel wire or Galvanized steel strip Armouring or Aluminium wire armouring, Black LSZH ST8 Outer sheath.) 3C X 4 Sq.mm. 2XWY cable. | 47 | 50 | Rmt | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.14 | CABLES - Supply, testing, tagging, laying & commissioning following sizes off 1100 Volt grade, LSZH insulated armoured / unarmored, Al. / Cu. Conductor multicore cable in readymade RCC trench, in PVC pipe, full round RCC pipe hume pipe, on cable trays / ladders etc.as. required complete with clamps for fixing. ((650/1100V LV Power cables, Stranded Annealed Copper or Stranded Aluminium Conductor, Crosslinked Polyethylene Insulation, PP Filler, LSZH ST8 Inner Sheath, Galvanized steel wire or Galvanized steel strip Armouring or Aluminium wire armouring, Black LSZH ST8 Outer sheath.) 3C X 2.5 Sq.mm. 2XWY cable. | 48 | 35 | Rmt | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.15 | CABLES - Supply, testing, tagging, laying & commissioning following sizes off 1100 Volt grade, LSZH insulated armoured / unarmored, Al. / Cu. Conductor multicore cable in readymade RCC trench, in PVC pipe, full round RCC pipe hume pipe, on cable trays / ladders etc.as. required complete with clamps for fixing. ((650/1100V LV Power cables, Stranded Annealed Copper or Stranded Aluminium Conductor, Crosslinked Polyethylene Insulation, PP Filler, LSZH ST8 Inner Sheath, Galvanized steel wire or Galvanized steel strip Armouring or Aluminium wire armouring, Black LSZH ST8 Outer sheath.) 3C x 2.5 Sq.mm. Cu. Sheathed cable (Including End Terminations.) For Workstations, |  | 350 | Rmt | [5 empty] | Full Conversion | INR | [40 empty] | 0 | 0
2.16 | End termination for above cables including DC glands Brass heavy duty, lugs, consumable etc. (End terminations for flexible cables will not be considered separately).(Cable Gland shall be Double compression type, dust-proof and weatherproof, made of heavy duty brass machine finished and nickel chrome plated with PVC shroud. All washers and hardware shall also be made of brass with nickel chrome plating. Rubber components shall be of neoprene or better synthetic material and of tested quality. All Entry thread shall MT type only. Pitch shall be 1.5mm. Protection class shall be IP66. Glands shall be suitable for Armoured cable i.e. Steel Wire Armour (SWA) / Aluminium Wire Armour (AWA) / Flat strip steel Armour / Unarmoured cable.) 4C X 16 Sq.mm. A2XFY cable. | 49 | 2 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.17 | End termination for above cables including DC glands Brass heavy duty, lugs, consumable etc. (End terminations for flexible cables will not be considered separately).(Cable Gland shall be Double compression type, dust-proof and weatherproof, made of heavy duty brass machine finished and nickel chrome plated with PVC shroud. All washers and hardware shall also be made of brass with nickel chrome plating. Rubber components shall be of neoprene or better synthetic material and of tested quality. All Entry thread shall MT type only. Pitch shall be 1.5mm. Protection class shall be IP66. Glands shall be suitable for Armoured cable i.e. Steel Wire Armour (SWA) / Aluminium Wire Armour (AWA) / Flat strip steel Armour / Unarmoured cable.) 4C X 6 Sq.mm. 2XWY cable. | 50 | 2 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.18 | End termination for above cables including DC glands Brass heavy duty, lugs, consumable etc. (End terminations for flexible cables will not be considered separately).(Cable Gland shall be Double compression type, dust-proof and weatherproof, made of heavy duty brass machine finished and nickel chrome plated with PVC shroud. All washers and hardware shall also be made of brass with nickel chrome plating. Rubber components shall be of neoprene or better synthetic material and of tested quality. All Entry thread shall MT type only. Pitch shall be 1.5mm. Protection class shall be IP66. Glands shall be suitable for Armoured cable i.e. Steel Wire Armour (SWA) / Aluminium Wire Armour (AWA) / Flat strip steel Armour / Unarmoured cable.) 3C X 4 Sq.mm. 2XWY cable. | 51 | 2 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.19 | End termination for above cables including DC glands Brass heavy duty, lugs, consumable etc. (End terminations for flexible cables will not be considered separately).(Cable Gland shall be Double compression type, dust-proof and weatherproof, made of heavy duty brass machine finished and nickel chrome plated with PVC shroud. All washers and hardware shall also be made of brass with nickel chrome plating. Rubber components shall be of neoprene or better synthetic material and of tested quality. All Entry thread shall MT type only. Pitch shall be 1.5mm. Protection class shall be IP66. Glands shall be suitable for Armoured cable i.e. Steel Wire Armour (SWA) / Aluminium Wire Armour (AWA) / Flat strip steel Armour / Unarmoured cable.) 3C X 2.5 Sq.mm. 2XWY cable. | 52 | 2 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.2 | Supply and installation of readymade perforated powder coated trays of following size with 50 mm depth unless otherwise specified including readymade accessories e.g. Vertical, horizontal bends, tee's, right angles etc.(Tray quantity Including Data & Electrical).(RAL Colour to be specified.) 50 mm perforated tray (16 SWG). | 53 | 10 | Rmt | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.21 | Supply and installation of readymade perforated powder coated trays of following size with 50 mm depth unless otherwise specified including readymade accessories e.g. Vertical, horizontal bends, tee's, right angles etc.(Tray quantity Including Data & Electrical).(RAL Colour to be specified.) 100 mm perforated tray (16 SWG). | 54 | 50 | Rmt | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.22 | Supply and installation of readymade powdercoated tray covers 16/18 SWG including readymade shape of Vertical & Horizontal Bend, Tee's, Right angles etc. to suit tray for all vertical runs.(Tray quantity Including Data & Electrical) (RAL Colour to be specified.)) 50 mm perforated tray Cover (18 SWG). Note - Standard accessories shall typically include : 'Z' section support - 30 x 35 mm in size - 312 mm in length - 6 nos, support for one piece ladder of 2.5 m in length each, nchor fastener & nut bolts of adequate size - 16 nos. (2 nos. per support), Coupler plates with hardware - 70 x 200 x 3 mm thick - 2 nos. for each piece of 2.5 m ladder complete with necessary accessories such as reducer, horizontal elbow & tee, up & down vertical elbow & bends, cross piece, complete. Provision for resting arrangement or support for perforated type cable tray shall be made separately as per required iron work. Provision of cover for perforated type cable tray shall be made only where it is absolutely necessary and make sure for locking arrangement. Both type of cable trays shall be earthed properly. | 55 | 5 | Rmt | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.23 | Supply and installation of readymade powdercoated tray covers 16/18 SWG including readymade shape of Vertical & Horizontal Bend, Tee's, Right angles etc. to suit tray for all vertical runs.(Tray quantity Including Data & Electrical) (RAL Colour to be specified.)) 100 mm perforated tray Cover (18 SWG). Note - Standard accessories shall typically include : 'Z' section support - 30 x 35 mm in size - 312 mm in length - 6 nos, support for one piece ladder of 2.5 m in length each, nchor fastener & nut bolts of adequate size - 16 nos. (2 nos. per support), Coupler plates with hardware - 70 x 200 x 3 mm thick - 2 nos. for each piece of 2.5 m ladder complete with necessary accessories such as reducer, horizontal elbow & tee, up & down vertical elbow & bends, cross piece, complete. Provision for resting arrangement or support for perforated type cable tray shall be made separately as per required iron work. Provision of cover for perforated type cable tray shall be made only where it is absolutely necessary and make sure for locking arrangement. Both type of cable trays shall be earthed properly. | 56 | 5 | Rmt | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.24 | Supply and Installation of tie rod of 10 / 12 mm full threaded type with slotted channel as required for mounting of cable tray.Note- 1set include two nos of vertical rod and one horizontal slotted channel complete with anchoring in the ceiling. | 57 | 20 | set | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.25 | POINT WIRING - Supply, installation of point wiring for light, 5A socket points on surface in 25 mm diameter, 2mm thickness FRLS PVC conduits with 2 x 2.5 sq.mm + 1 x 1.5 Sq.mm LSZH insulated multistrand Cu. conductor wire as sub mains and 2 x 1.5 sq.mm + 1 x 1.5 Sq.mm. LSZH Insulated multistand Cu. conductor wire for point wiring with 5 Amp SP modular switch fixed on modular switch board/ box in wall, including fancy angle holder / ceiling rose etc. complete as required (submain will not be measured separately) - Light Point wiring for light points with necessary 5A modular switch, ceiling rose compete. | 58 | 65 | Points | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.26 | Point Wiring - Supply, installation of point wiring for light, 5A socket points in surface 25 mm diameter, 2mm thickness FRLS conduits with 2 x 2.5 sq.mm + 1 x 1.5 Sq.mm LSZH insulated multistrand Cu. conductor wire as sub mains & 2 x 1.5 + 1 x 1.5 Sq.mm. LSZH Insulated multistand Cu. conductor wire for point wiring with 5 Amp SP modular switch fixed on modular switch board in wall, including fancy angle holder / ceiling rose etc. complete as required (submain will not be measured separately)- Point wiring as above with 2 x 2.5 sq.mm + 1 x 1.5 Sq.mm. Cu. wire in suitable size FR PVC conduit for Emergency Light Points with controlled from 5A modular switches in Cabins, rooms. | 59 | 15 | Points | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.27 | Point Wiring - Supply, installation of point wiring for light, 5A socket points in surface 25 mm diameter, 2mm thickness FRLS conduits with 2 x 2.5 sq.mm + 1 x 1.5 Sq.mm LSZH insulated multistrand Cu. conductor wire as sub mains & 2 x 1.5 + 1 x 1.5 Sq.mm. LSZH Insulated multistand Cu. conductor wire for point wiring with 5 Amp SP modular switch fixed on modular switch board in wall, including fancy angle holder / ceiling rose etc. complete as required (submain will not be measured separately)- As Above but Point wiring for light points with ceiling rose Controlled with MCB (Switching will be from respective lighting SB) | 60 | 4 | Points | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.28 | Point Wiring - Supply, installation of point wiring for light, 5A socket points in surface 25 mm diameter, 2mm thickness FRLS conduits with 2 x 2.5 sq.mm + 1 x 1.5 Sq.mm LSZH insulated multistrand Cu. conductor wire as sub mains & 2 x 1.5 + 1 x 1.5 Sq.mm. LSZH Insulated multistand Cu. conductor wire for point wiring with 5 Amp SP modular switch fixed on modular switch board in wall, including fancy angle holder / ceiling rose etc. complete as required (submain will not be measured separately)-As Above but Point wiring for Emergency light points with ceiling rose Controlled with MCB (Switching will be from respective lighting DB). | 61 | 4 | Points | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.29 | Point Wiring - Supply, installation of point wiring for light, 5A socket points in surface 25 mm diameter, 2mm thickness FRLS conduits with 2 x 2.5 sq.mm + 1 x 1.5 Sq.mm LSZH insulated multistrand Cu. conductor wire as sub mains & 2 x 1.5 + 1 x 1.5 Sq.mm. LSZH Insulated multistand Cu. conductor wire for point wiring with 5 Amp SP modular switch fixed on modular switch board in wall, including fancy angle holder / ceiling rose etc. complete as required (submain will not be measured separately)- 5A, switch & 3 pin socket with box on switch board | 62 | 6 | Points | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.3 | Point Wiring: Supply, installation of point wiring for light, 5A socket points in surface 25 mm diameter, 2mm thickness FRLS conduits with 2 x 2.5sq.mm + 1 x 1.5 Sq.mm LSZH insulated multistrand Cu. conductor wire as sub mains & 2 x 1.5 + 1 x 1.5 Sq.mm. LSZH Insulated multistand Cu. conductor wire for point wiring with 5 Amp SP modular switch fixed on modular switch board in wall, including fancy angle holder / ceiling rose etc. complete as required (submain will not be measured separately)- Point wiring as above for VRV system using 2 x 2.5 + 1 x 1.5 Sq.mm. in suitable FRLS PVC conduit providing 5A socket with bed switch near to it and each socket will be looped for 5 Points & points will be fed from DB. | 63 | 6 | Points | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.31 | Point Wiring: Supply, installation of point wiring for light, 5A socket points in surface 25 mm diameter, 2mm thickness FRLS conduits with 2 x 2.5 sq.mm + 1 x 1.5 Sq.mm LSZH insulated multistrand Cu. conductor wire as sub mains & 2 x 1.5 + 1 x 1.5 Sq.mm. LSZH Insulated multistand Cu. conductor wire for point wiring with 5 Amp SP modular switch fixed on modular switch board in wall, including fancy angle holder / ceiling rose etc. complete as required (submain will not be measured separately)- Point wiring as above for DUCTABLE / HI wall system using 2 x 4 sq.mm + 1 x 2.5 Sq.mm. in suitable FRLS PVC conduit providing 16A socket with SP MCB as switch & each ckt will be looped for 1 Points & points will be fed from DB. | 64 | 6 | Points | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.32 | Point Wiring: Supply, installation of point wiring for light, 5A socket points in surface 25 mm dia, 2mm thick FRLS conduits with 2 x 2.5 + 1 x 1.5 Sq.mm LSZH insulated multistrand Cu. conductor wire as sub mains & 2 x 1.5 + 1 x 1.5 Sq.mm. LSZH Insulated multistand Cu. conductor wire for point wiring with 5 Amp SP modular switch fixed on modular switch board in wall, including fancy angle holder / ceiling rose etc. complete as required (submain will not be measured separately)-Point wiring as above using 2 x 2.5 sq.mm + 1 x 1.5 Sq.mm. in suitable FRLS PVC conduit/raceway including 1 Nos. modular 6A Switch & Socket with Modular plate, box at one place for utility & printer points connections. 6A switch and socket Max 4 loops on raw power (Second point to be looped with 2.5sqmm wire/cable | 65 | 6 | Points | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.33 | 2Nos. modular 6/16A socket with 1 No. 16A SP switch with box on UPS power +2 No. of data Point. | 66 | 10 | set | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.34 | 3Nos. modular 6/16A socket with 1 No. 16A SP switch with box on UPS power +2 No. of data Point. | 67 | 15 | set | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.35 | 2 Nos. modular 6/16A socket with 1 No. 16A SP switch with box on UPS power | 68 | 5 | set | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.36 | Pop up box with 3 Nos. modular 6/16A socket with 3 No. 16A SP switches at one place on UPS power , with 2 No. of Data point provision with all accessories. | 69 | 9 | set | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.37 | Mains & Submains - Supply & installation, testing & commissioning of following mains in provided LSZH conduit complete for power point.- 2 x 2.5 sq.mm + 1 x 2.5 sq.mm. Cu. wires. | 70 | 200 | Rmt | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.38 | Supply & Installation of 1Nos HDMI, 1Nos VGA Socket | 71 | 8 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.39 | Supply & laying of AL. extruded raceways of various sizes as detailed below including Cutting / chasing of floor and remaking of floor with proper fiinishing for Power & Data cables for work stations.works including Cutting / chasing of floor and remaking of floor with proper fiinishing for Power for work stations.- 150mm x 50 mm deep 2mm thick AL. raceways for power/ data cable | 72 | 70 | Rmt | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.4 | Supply & fixing of (IQUBX JB022 Modular Floor Junction Box) follwing sizes of Heavy duty GI junction boxes with 14 SWG cover flushed to floor level with required screw & frame support as required for above raceways.works including Cutting / chasing of floor and remaking of floor with proper fiinishing for Power for work stations - 150mm x 150mm x 50mm deep 16SWG junction box with 14SWG cover. | 73 | 12 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.41 | Supply & fixing of (IQUBX JB022 Modular Floor Junction Box) follwing sizes of Heavy duty GI junction boxes with 14 SWG cover flushed to floor level with required screw & frame support as required for above raceways.works including Cutting / chasing of floor and remaking of floor with proper fiinishing for Power for work stations - 250mm x 250mm x 50mm deep 16SWG junction box with 14SWG cover. | 74 | 10 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.42 | Supply, Installation, testing and commissioning of lighting fixtures including necessary accessories, lamps wiring connection down drops, supports etc with flexible cable/wire upto lamp. Down lighters - Recessed adjustable COB light made of die cast aluminum housing with robust heat sink - Legero Opal 14w LRS 6014, 4000K beam angle | 75 | 14 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.43 | Supply, Installation, testing and commissioning of lighting fixtures including necessary accessories, lamps wiring connection down drops, supports etc with flexible cable/wire upto lamp. Down lighters - Recessed adjustable COB light made of die cast aluminum housing with robust heat sink - Legero Ziva Reccessed 6000K 14w LRS 6014, 4000K beam angle | 76 | 14 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.44 | Supply, Installation, testing and commissioning of lighting fixtures including necessary accessories, lamps wiring connection down drops, supports etc with flexible cable/wire upto lamp. Down lighters - Recessed adjustable COB light made of die cast aluminum housing with robust heat sink - CURVED RECTANGLE WITH 20W/MTR RIBBON SUSPENDED CURVILINEAR LIGHT DIMENSION: 1000mm ¦ 50mm ¦ 60mm (DIA ¦ W ¦ HT) | 77 | 17 | Rmt | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.45 | Supply, Installation, testing and commissioning of lighting fixtures including necessary accessories, lamps wiring connection down drops, supports etc with flexible cable/wire upto lamp. Down lighters - Recessed adjustable COB light made of die cast aluminum housing with robust heat sink - 20W/MTR RIPPLE SUSPENDED RING LIGHT DIMENSION: 3200mm ¦ 50mm ¦ 60mm (DIA ¦ W ¦ HT) 6000K | 78 | 2 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.46 | Supply, Installation, testing and commissioning of lighting fixtures including necessary accessories, lamps wiring connection down drops, supports etc with flexible cable/wire upto lamp - 14W/MTR LYNX 120LED IP20 STRIP LIGHT WITH 4AMP 12 VOLT DRIVER PER 5 MTR ROLL AND NECESSARY PROFILE 4000K | 79 | 150 | Rmt | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.47 | Supply, Installation, testing and commissioning of lighting fixtures including necessary accessories, lamps wiring connection down drops, supports etc with flexible cable/wire upto lamp. Down lighters - Recessed adjustable COB light made of die cast aluminum housing with robust heat sink -20W/MTR RIPPLE SUSPENDED RING LIGHT DIMENSION:1200mm ¦ 50mm ¦ 60mm (DIA1200 ¦ W ¦ HT) 6000K | 80 | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.48 | Supply, Installation, testing and commissioning of lighting fixtures including necessary accessories, lamps wiring connection down drops, supports etc with flexible cable/wire upto lamp. Down lighters - Recessed adjustable COB light made of die cast aluminum housing with robust heat sink - 20W/MTR RIPPLE SUSPENDED RING LIGHT DIMENSION:1200mm ¦ 50mm ¦ 60mm (DIA900 ¦ W ¦ HT) 6000K | 81 | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.49 | Suppy, Installation, testing and commissioning of lighting fixtures including necessary accessories, lamps wiring connection down drops, supports etc with flexible cable/wire upto lamp. Down lighters - Recessed adjustable COB light made of die cast aluminum housing with robust heat sink - 20W/MTR RIPPLE SUSPENDED RING LIGHT DIMENSION:1200mm ¦ 50mm ¦ 60mm (DIA 600 ¦ W ¦ HT) 6000K | 82 | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3 | HVAC System | 83 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | Condensing Unit with cooling mode. (Outdoor Unit): Supply,Transportation, Testing and Commissioning of VRV/ VRF/ High COP minimum of one/ two/ three outdoor units comprising of DC scroll/DC Twin Rotary, Inverter driven compressor, Air cooled condenser operation on R134A/410A Refrigerant gas and on 415V, 50Hz, 3 phase AC supply. The multiple compressors offered shall have independent refrigerant circuit, also shall cut off automatically in part load condition. The unit shall have microprocessor controls. The out door units shall be installed on the space alloted in the drawings or as per the instruction and scope shall include all supports for the out door units. Units shall be factory assembled and only the refrigerant piping shall be carriedout at the site. The noise levels for the out door unit shall be less than 65db(A). The price shall include the vibration isolator, all types of outdoor units connection piping (T- Shape and Y-shape) kits in pair excluding refrigerant pipe and refregirent gas for the following capacities - 12 HP VRF/DVMS Condensing unit with cooling mode (Outdoor Unit) | 84 | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.02 | Supply of VRF Indoor CASSETTE UNITS type indoor units comprising with pre-filter, fan section with low noise fan 3/4 multi speed motor, coil section with DX coil, outer cabinet, drain water lift-up mechanism, insulation, pipe connections etc. of various capacities as per specifications and drawings. Panel type should be as mentioned below - (2.0T) 4 WAY CASSETTE AC 360 ROUND CASSETTE (7.1 KW) | 85 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.03 | Supply of VRF Indoor CASSETTE UNITS type indoor units comprising with pre-filter, fan section with low noise fan 3/4 multi speed motor, coil section with DX coil, outer cabinet, drain water lift-up mechanism, insulation, pipe connections etc. of various capacities as per specifications and drawings. Panel type should be as mentioned below - (2.6T) 4 WAY CASSETTE AC 360 ROUND CASSETTE (9.0 KW) | 86 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.04 | REMOTE: Supply of WIRELESS REMOTE FOR 4 WAY CASSETTE | 87 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.05 | Supply of fully digital Centralised Touch Screen remote controller Station with power supply adaptor. (Touch screen remotes with bulky power supplies will not be accepted). | 88 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.06 | Supply of VRF copper T & Y-Joints (pair) for refrigerant piping with insulation for IDUs & ODUs - Indoor Refnets (Y joint) | 89 | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.07 | Supply of VRF copper T & Y-Joints (pair) for refrigerant piping with insulation for IDUs & ODUs - Outdoor Refnets (Y joint) | 90 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.08 | Lifting, Shifting, Positioning & Installation of VRF Outdoor units - 12 HP VRF/DVMS Condensing unit with cooling mode. | 91 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.09 | Lifting, Shifting, Positioning & Installation of VRF Indoor units - (2.0T) 4 WAY CASSETTE AC 360 ROUND CASSETTE (7.1 KW) | 92 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.1 | Lifting, Shifting, Positioning & Installation of VRF Indoor units - (2.6T) 4 WAY CASSETTE AC 360 ROUND CASSETTE (9.0 KW) | 93 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.11 | REMOTE: Installation of WIRELESS REMOTE FOR 4 WAY CASSETTE | 94 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.12 | Installation of fully digital Centralised Touch Screen remote controller Station with power supply adaptor. (Touch screen remotes with bulky power supplies will not be accepted). | 95 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.13 | Installation of VRF copper T & Y-Joints (pair) for refrigerant piping with insulation for IDUs & ODUs - Indoor Refnets (Y joint) | 96 | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.14 | Installation of VRF copper T & Y-Joints (pair) for refrigerant piping with insulation for IDUs & ODUs - Indoor Refnets (Y joint) - Outdoor Refnets (Y joint) | 97 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.15 | Vacuuming the system, Gas topping up of R410a, pressure testing and commissioning of above system | 98 | 4.5 | Per Kilogram |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.16 | Supply & installation of suction & discharge Hard copper Refrigerant piping with proper supports/hangers from ceiling/wall as required at site & approved by consultant & duly insulated with closed cell elastomeric nitrile insulation as per requirement for machines. .(Brand Mexflow) Insulation Brand K-Flex, gasline :19mm, liquid line 13mm) | 99 | 26 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.17 | Supply and installation of flexible FRLSH power cable to provide connections between the power supply points and DDC controller .( 3 core x 1.5 sqmm ) | 100 | 40 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.18 | Supply and Erection of hard PVC condensate drain piping with 9mm thickness Nitrile insulated including support and wall opening of the following sizes etc.- 32mm Diameter | 101 | 60 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.19 | VRF TYPE FLUSHING, PRESSURE TESTING, COMMISSIONING: Each Circuit to be flushed with nitrogen, Purging and pressure testing of complete refrigerant pipe of each circuit, complete vaccum of each system under 400 microns commision of system report along with as built drawing | 102 | 12 | HP |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.2 | MS WORK: Outdoor Flat form/Stand work for mounting of Outdoor units for all the above Outdoor units if Required Ductable units and angle support with one coat of epoxy primer and two coats of synthetic enamel paint. | 103 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.21 | Associated Civil works: Core Cutting, Chipping, chasing & Plastering the wall openings in cement morter 1:4 of average15 mm thickness finishing to line and level with sand facied finishing at all levels, including all leads & lifts, scaffolding, curing etc complete (for Copper & Drain piping openings in all rooms etc | 104 | 1 | lot |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.22 | Cable Tray: GI cable tray 300mm wide for supporting refrigerant piping in shaft / duct terrace complete with supports | 105 | 15 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.23 | Cable Tray: GI cover for cable tray to protect refrigerant piping / insulation on open terrace / duct | 106 | 15 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4 | Allied Works | 107 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.01 | FIRE ALARM SYSTEM CABLING - Fire Alarm Control Panel: FIRE ALARM SYSTEM CABLING: Providing and Installing DXc Single loop Fire Alarm Control Panel with battery Backup,one loop card inbuilt,198 addressable points (99 detectors+99 devices), 6*40 character blue crystal display with backlight illumination, 2 Sounder circuits.Requires network card (MOF795099) additionally for network | 108 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.02 | FIRE ALARM SYSTEM CABLING: Smoke Detector System with Base (BFC) | 110 | 8 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.03 | FIRE ALARM SYSTEM CABLING: Smoke Detector System with Base (AFC) | 111 | 8 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.04 | FIRE ALARM SYSTEM CABLING: Type Manual Call Point with Back Box | 112 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.05 | FIRE ALARM SYSTEM CABLING- Type Loop Sounder | 113 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.06 | FIRE ALARM SYSTEM CABLING- Response Indicator | 114 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.07 | FIRE ALARM SYSTEM CABLING - Single Input Monitor Module, requires M220E/SMB for surface mounting or M200E-Din for mounting to DIN rails. Requires SMB500 for surface mount | 115 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.08 | FIRE ALARM SYSTEM CABLING -Output control module. Requires M200E-SMB for surface mounting or M200E-DIN for mounting to DIN rails. | 116 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.09 | FIRE ALARM SYSTEM CABLING: 2 Core 1.5sq. mm FRLS Armoured "Red" Color Cable with accessories | 117 | 150 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.1 | FIRE ALARM SYSTEM CABLING: 2 Core 1.5sq. mm Armoured Cable termination using cable glands | 118 | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.11 | FIRE ALARM SYSTEM CABLING: Signages | 119 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.12 | Supply & Installation of self illuminated Exit / Fire Exit Signs (Glolite make) mounted on ceiling/wall as per site conditions of following sizes. (250mmx100mm) - Fire Extinguishers, ABC Type, 4 Kg, ISI marked | 120 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.13 | Supply & Installation of self illuminated Exit / Fire Exit Signs (Glolite make) mounted on ceiling/wall as per site conditions of following sizes. (250x100) - Fire Extinguishers, Co2 Type, 4.5 Kg, ISI marked | 121 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.14 | CCTV SYSTEM CABLING: Supply, installation, testing and commissioning of 2Megapixel HD (High Definition) IR Dome / Bullet Camera, 3.6mm Varifocal lens (Day & Night), 15m-20m IR Distance, Minimum illumination 0Lux/F1.2, 12 VDC | 122 | 8 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.15 | CCTV SYSTEM CABLING: Supply, Installation, testing and commissiong of 16-Channel HD (High Defination) Digital Video Recorder (DVR), HDMI,BNC & VGA output Real-time, 2 Hard Disk SATA Slot , 230V AC | 123 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.16 | CCTV SYSTEM CABLING: Supply, Installation, testing and commissiong of 32-Channel HD (High Defination) Digital Video Recorder (DVR), HDMI,BNC & VGA output Real-time, 4 Hard Disk SATA Slot , 230V AC | 124 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.17 | CCTV SYSTEM CABLING: 12V DC/10Amps Power suply Unit For Camera | 125 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.18 | CCTV SYSTEM CABLING: Supply, installation, testing and commissiong of 4 TB Audio Visual (Surveillance ) Hard Disk | 126 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.19 | CCTV SYSTEM CABLING: Supply, installation, testing and commissiong of 22" High Resolution Color HDMI/VGA Monitor with Cable and Wall Mounting Stand | 127 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.2 | CCTV SYSTEM CABLING: Supplying & laying 1+4, Co-axial, shielded Camera cable, Providing, laying and connecting 1+4, Co-axial, shielded Camera cable, laid through PVC conduits in approved manner. Cost of PVC Conduits to be considered in the rate. | 128 | 350 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.21 | ACCESS CONTROL SYSTEM CABLING: Supply, installation, testing and commissioning of HID I-Class Type Card Reader with 3" Reading Capacity | 129 | 7 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.22 | ACCESS CONTROL SYSTEM CABLING: Supply, Installation, testing and commissiong of 4 Door / 8 Reader Controller with TCP/IP Connectivity, 60000 Last Transaction Memory, Support Ms-Access, Oracle, SQL | 130 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.23 | ACCESS CONTROL SYSTEM CABLING: Supply, Installation, testing and commissiong of SS Type Exit Switch | 131 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.24 | ACCESS CONTROL SYSTEM CABLING: Supply, installation, testing and commissiong of 600 LBS Electromagnetic Lock | 132 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.25 | ACCESS CONTROL SYSTEM CABLING: Supply, installation, testing and commissiong of Enterprise Level Access Control Management Software with License | 133 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.26 | ACCESS CONTROL SYSTEM CABLING: Supply, installation, testing of L or U Bracket | 134 | 7 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.27 | ACCESS CONTROL SYSTEM CABLING: Supplying and laying 8 Core 1.0 Sq. Mm Shielded Cable for Reader to Controller | 135 | 200 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.28 | ACCESS CONTROL SYSTEM CABLING: Supplying and laying 4 Core 1.0 Sq. Mm Shielded Cable for Lock and Exit Switch to Controller | 136 | 100 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5 | AV System | 137 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5.01 | Audio Solution - Ceiling Speakers: 4.25-inch ceiling loudspeaker 70V/100V or 16Ω low impedance operation, Dispersion: 150° H x 100° V, Power: 40W continuous 160W Peak | 138 | 11 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.02 | Audio Solution - Power Amplifer: 4-Channel Power amplifier, 4 x 120W (70/100 Volts or RMS @ 4 Ohms), Power amp topology class-D Power O/P: Dynamic output 4 ohms: 4 x 120 watts / 8 ohms: 4 x 60 watts / 8 ohms: 2 x 240 watts | 139 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.03 | Audio Solution - Digital Signal processor: 32x32 channels of Dante, 12 microphone/line level inputs with AEC, 8 microphone/line level outputs, Gigabit Ethernet port RS-232 serial port, Four-pin GPIO, System configuration and control via Ethernet | 140 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.04 | Audio Solution - Wireless receiver: Includes wall/ceiling mounting, Ethernet cable (PoE compatible), support configurations of up to 32 compatible channels (40 in Europe and select countries), Bi-directional wireless: Provides return channel audio to wireless transmitters and enables real time remote control of all wireless microphone settings | 141 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.05 | Audio Solution- Bodypack Transmitter: Compact, low-profile design with Integrated omnidirectional mic or External microphone input. AES 256-bit encryption, Smart lithium-ion batteries | 142 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.06 | Audio Solution - Cardioid Lavalier: low-profile lavalier condenser microphones, Higher dynamic range with improved max SPL, self-noise | 143 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.07 | Audio Solution - Earset Headworn: Subminiature, omnidirectional cartridge, Ultra-lightweight, comfortable, flexible design | 144 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.08 | Audio Solution - Wireless Handheld Transmitter : Wireless rechargeable microphones shall transmit AES256 encrypted audio to their associated Access Point up to 50m (160 ft.) working range. microphones shall feature field-replaceable batteries. Shall have Cardioid capsule | 145 | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.09 | Audio Solution - Networked Charging Station : 4-channel Network Charging Station capable of charging up to 4 Handheld/Bodypack/Boundary Microphones, shall have a 5-segment LED display per charging bay | 146 | 1 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.1 | Video System - Interactive Standee at Reception: Interactive Display Standee of 43" LED that is designed to be floor-mounted. This design ensures stability and facilitates ease of interaction for users of all heights. The standee should be easily accessible and user-friendly, allowing users to interact with the display effortlessly. Interactive features to engage users. These features may include, but are not limited to, touch screen capabilities of custom design | 147 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.11 | Video System - Floor mounted Standee for welcome zone: Floor Mounted 55" Interactive Digital Signage. This digital signage should be designed to be floor-mounted, ensuring stability and ease of interaction for users. The digital signage should be constructed from durable materials to withstand regular use and environmental conditions. It should be robust and reliable, requiring minimal maintenance and offering a long service life. | 148 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.12 | Video System - 32" Floor mounted LED interactive standee for Audio: Video recording of feedback - The standee should be designed for floor mounting, ensuring stability and user-friendly interaction. The interactive display should be 32" in size, offering high resolution for clear visibility, The standee should also include a built-in camera for additional possibilities to be placed . | 149 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.13 | Video System - 65" Floor mounted interactive LED display for Visitor Lounge + Deepdive Information (Multitouch table) - The standee should be designed for floor mounting, ensuring stability and user-friendly interaction. The interactive display should be 65" in size, offering high resolution for clear visibility, The standee should also include a built-in camera for additional possibilities | 150 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.14 | Video System - Active LED Type 1 for Asymmetric Video wall at Welcome zone: The display should have physical dimensions of not more than 2m x 1.13m, Display will be Asymmetric in size, refer drawing. This display will be providing a large, immersive viewing experience, resolution of 1920 x 864 pixels, ensuring high-definition visuals and clear, crisp images, Pixel pitch should not be higher than 1.5mm PP, Display should have brightness not less than 600cd/m2, bidder should include all the necessary hardware and mounting accessories for successful installation. | 151 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.15 | Video System - Active LED Type 2 for Histrory and Milestone Interactive Video wall: The display should have physical dimensions of not more than 4.8m x 1.35m, providing a large, immersive viewing experience, resolution of 5120 x 1348 pixels, ensuring high-definition visuals and clear, crisp images, Pixel pitch should not be higher than 1.2mm PP, Display should have brightness not less than 600cd/m2 bidder should include all the necessary hardware and mounting accessories for successful installation. The LED wall should be interactive The system should support multi-touch inputs for collaborative experiences. The LED wall should be compatible with standard video and data sources. | 152 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.16 | Video System - Active LED Type 3 for Case studies and testimonials of beneficiaries at Diorma wall: The display should have physical dimensions of not more than 3.66m x 2.05m, providing a large, immersive viewing experience, resolution of 1920 x 1080 pixels, ensuring high-definition visuals and clear, crisp images, Pixel pitch should not be higher than 1.8mm PP, Display should have brightness not less than 600cd/m2, bidder should include all the necessary hardware and mounting accessories for successful installation. | 153 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.17 | Video System - Active LED Type 4 for Vision and future plans as transparent LED curtain: The display should have physical dimensions of not more than 3m x 2m, providing a large, immersive viewing experience, Pixel pitch should be 2.6mm - 6.9mm PP, this display will be transparent when not in use, bidder should include all the necessary hardware and mounting accessories for successful installation. | 154 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.18 | Video System - Active LED Type 5 for LED globe at reception: The display should be installed in a unique sphere shape, providing a 360-degree viewing experience. It should utilize Active LED technology for bright and vibrant visuals. The display should be floor-mounted for stability and ease of interaction. The spehere display should not be smaller than 1.5 m diameter / 7.07 m2 area sphere and with Pixel Pitch not higher then 2mm | 155 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.19 | Video System - Projector for Diorma wall: The proposed ultra-short throw laser projector should have a brightness of more than 5000 ANSI lumens to ensure clear and vibrant images even in well-lit environments. The projector should be capable of projecting large images from a short distance, reducing shadows and glare. It should support at least Full HD resolution (1920 x 1080 pixels) for high-definition content display. | 156 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.2 | Video System - Videowall Processor Type 1for history & milestone and Diorma area: The processor should have mininmum configuration of 4x4 I/O, should have Powerful and Simple Web based Drag & Drop designer to manage and control video walls, should Operate video wall from touch panel to change layouts and control devices, should Built for 24/7 mission-critical operations | 157 | 2 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.21 | Video System - Videowall Processor Type 2 for reception and globe: The processor should have mininmum configuration of 2x41I/O, should have Powerful and Simple Web based Drag & Drop designer to manage and control video walls, should Operate video wall from touch panel to change layouts and control devices, should Built for 24/7 mission-critical operations | 158 | 2 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.22 | Video System - Signage Player: Signage player should be capable of delivering high-quality digital signage content. It should support various multimedia formats and have ample storage capacity. The player should be reliable, with high uptime and low maintenance needs, player should come with necessary licenses. | 159 | 8 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.23 | Video System - Sigange Server : PC/Workstation specification to install Manager application : i5/i7, 4GB or Higher RAM, 500GB or Higher HDD, Win 10 Pro OS with monitor, K/B & mouse, server should be loaded with necessary licenses | 160 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.24 | Video System - Content Server: PC/Workstation specification to install Manager application : i5/i7, 4GB or Higher RAM, 500GB or Higher HDD, Win 10 Pro OS with monitor, K/B & mouse, server should be loaded with necessary licenses | 161 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.25 | Video System - Touch Overlay for history and milestone interactive LED wall: Should be of size 5 Meter X 1.35 Meter, True Multi Touch functionality. It should be capable of precisely detecting 20 touch points simultaneously, ensuring accurate and reliable interaction. The overlay should support both landscape and portrait orientation, providing flexibility in display setup. It should feature auto calibration for ease of use and optimal performance. The overlay should be compatible with a single USB connection and support Windows 8.1 and above. The supplier should provide installation and maintenance services | 162 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.26 | Video System - Head mounted display for VR booth: The device should have dimensions of approximately 184 mm x 160 mm x 98 mm, weight around 515g, and be equipped with six cameras for inside-out SLAM tracking with six degrees of freedom. It should feature a 4K+ Infinite Display (2x LCD) for clear visuals. The device should support hand tracking and come with a rechargeable battery. Should be supplied with necessary accessories. | 163 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.27 | Video System - USB Extender for history and milestone interactive LED wall: The extender should use Category cable (like Cat5 or Cat6) to transmit USB signals over long distances, ideally up to 100 meters or more. It should be compatible with USB 2.0 or 3.0. | 164 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.28 | Video System - Wireless Presentation for history and milestone interactive LED wall: The wireless presenter should have a range of at least 30 meters, with a USB 2.0 or 3.0 receiver for plug-and-play connectivity. It should feature a buil-in rechargeable battery and responsive buttons for easy navigation. | 165 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.29 | Video System - HDMI Switcher for history and milestone interactive LED wall: The proposed HDMI switcher should have 4 input ports and 1 output port, allowing for the connection of multiple HDMI sources to a single display. The switcher should support automatic switching, detecting and selecting the active input signal when a new device is connected. It should also support manual switching. It should also have TCP/IP control capabilities, allowing for remote operation over a network. The vendor should provide all necessary cables and adapters for the system, along with comprehensive installation and technical support services | 166 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.3 | Control System - Control processor: The controller shall support a network management system by the same manufacturer, supporting overall remote system controlling, monitoring, and managing through network computers and mobile devices. Controller shall have various physical controll ports such as IR, RS-23, GPIO, Shall support touch screens, keypads, and wireless remotes | 167 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.31 | Control System - Lighting Controller: Computer programmable, network connected DALI-compliant lighting controllers send on-off and dimming instructions to addressable DALI-compliant lighting ballasts and receive ballast and lamp condition reports from the fixture, controller should be of same OEM as of controller | 168 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.32 | Control System - Relay Controller : Contoller should give 8 or more channels of power switching, should support supports both 120V and 220-240V applications, should be designed in such a way to be mounted on wall. controller should be of same OEM as of controller | 169 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.33 | Control System - Occupancy Sensor: The proposed occupancy sensor should utilize dual-technology, combining both passive infrared (PIR) and ultrasonic technologies to detect occupancy. This ensures high sensitivity and accuracy in detecting movement and presence. The sensor should have a low-profile design, suitable for ceiling mounting. It should be designed to cover large areas, with a detection range of up to 2,000 square feet. | 170 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.34 | Control System - Touch Panel : The device should be of 10" or more, panel should be sleem, should supoort wifi, and supplied with necessary applications or licenses. | 171 | 2 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.35 | Installation Equipments - Custom mount Type 1 : Display Mount designed to hold a display in a slanted position.(Size 2m X 1.13m) The mount should be adjustable, allowing for the precise angling of the display for optimal viewing and interaction. It should be constructed from durable materials to ensure stability and longevity | 172 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.36 | Installation Equipments - Custom Table: The proposed table should be rectangular in shape, with custom dimensions (Size W-6' X H-2'6" X D-2') to accommodate models for Augmented Reality (AR) viewing. The table should be sturdy and stable, capable of supporting the weight of various models. The surface of the table should be flat and smooth, with a neutral color that does not interfere with the AR viewing experience | 174 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.37 | Installation Equipments: Table Top Model : Miniature models showing a village as per design (Size W-6' X H-2'6" X D-2') made of FRP material | 175 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.38 | Installation Equipments - Projector Glass: The proposed smart glass size: (H-6'X W-4') should be a laminated glass that comprises an LCD (liquid crystal display) film. The LCD film should be sandwiched between two layers of glass and two conductive interlayers with liquid crystals. This structure allows the glass to change its appearance from clear to opaque and vice-versa at the switch of a button. The smart glass should be capable of frequent changes in transparency, providing flexibility in controlling privacy and light penetration. The vendor should provide all necessary installation hardware and instructions. | 176 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.39 | Installation Equipments - Touch panel Mount: The mount should be designed to hold and charge an touch panel securely on any wall or solid surface, while maintaining access to required buttons. | 177 | 2 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.4 | Installation Equipments - HDMI cable: Cables should supports signals up to 4K@60Hz (4:4:4), Deep Color, x.v.Color™, Lip Sync, 7.1 PCM, Dolby TrueHD, DTS−HD, CEC | 178 | 28 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.41 | Installation Equipments - USB Cable : Should be USB Type–A Male to Type–B Male., should have Transfer Rates up to 480Mbps. | 179 | 6 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.42 | Installation Equipments - Network Switch : Should have 40x1G PoE+ with POE budget of 450 or more, Should have out of the box support for AVoIP solution. | 180 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.43 | Installation Equipments - Wifi router/access points | 181 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.44 | Installation Equipments - Cable Type 1: Cables should have Conductors are stranded 16AWG copper and the conductor jackets are color–coded red/black. | 182 | 300 | Meters | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.45 | Installation Equipments - Cable Type 2 : Cables should have Conductors are stranded 20AWG copper and the conductor jackets are color–coded red/black. | 183 | 100 | Meters | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.46 | Installation Equipments - Cat6 Cable | 184 | 1200 | Meters | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.47 | Installation Equipments - 42U rack with necessary accessories | 185 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.48 | Installation Equipments - PDU : PDU Should have 8 AC outlets and are available in various IEC or NEMA socket configurations, PDU should supports any 3rd party v3 SNMP Manager Software and eco Sensors | 186 | 1 | Each | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.49 | Installation Equipments - Miscellaneous Accessories & Connectors | 187 | 1 | Lot | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.5 | Commissioning Services - Installation, Testing, Programming , Commissioning, Documentation & other Project Management Services | 188 | 1 | Lot | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6 | Content Repurposing, Programming and Content Management - The content developed by Corporate Communications Department of NABARD is to be repurposed and programmed by the bidder and testing and integration of final content with respective AV hardware and preview and valid customer approval etc., complete as per details below | 189 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6.01 | Welcome Zone - Technology:43" Interactive Standee at Reception Content Repurposing and Programming:-2D/3D/Video/ Audio/ Interactive Content/ Graphics design of relevant topics in 2 languages (Hindi & English). Should support the native resolution of 1920 x 1080 pixels. | 190 | 4 | Minutes | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.02 | Welcome Zone - Technology: Active LED (Assymmetric wall) Content Repurposing and Programming: - 2D/3D/Video/ Audio/ Interactive Content/ Graphics design of relevant topics in 2 languages (Hindi & English). Should support the native resolution of the display, with 1920 x 864 pixels resolution. Content to be customised to the final assymetric wall layout. | 191 | 6 | Minutes | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.03 | Welcome Zone - Technology: Active LED Globe Content Repurposing and Programming: - 2D/3D/Video/ Audio/ Interactive Content/ Graphics design of relevant topics in 2 languages (Hindi & English). Should support 1.5 diameter / 7.07 m2 area sphere and with Pixel Pitch not higher then 2mm.Content to be customised to the final spherical LED. | 192 | 4 | Minutes | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.04 | Orientation Zone - Technology: 55" Floor mounted Standee Content Repurposing and Programming:-2D/3D/Video/ Audio/ Interactive Content/ Graphics design of relevant topics in 2 languages (Hindi & English). Should support the native resolution of 1920 x 1080 pixels. | 193 | 4 | Minutes | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.05 | History and Milestone Zone - Technology: Interactive video wall Content Repurposing and Programming:-2D/3D/Video/ Audio/ Interactive Content/ Graphics design of relevant topics in 2 languages (Hindi & English). Should support the native resolution of 5120 x 1348 pixels. | 194 | 50 | Slides | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.06 | Diorma Wall for case studies and testimonials of beneficiaries - Technology: Active LED Wall Content Repurposing and Programming: - 2D/3D/Video/ Audio/ Interactive Content/ Graphics design of relevant topics in 2 languages (Hindi & English). Should support the native resolution of the display, with 1920 x 1080 pixels resolution. | 195 | 30 | Minutes | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.07 | Diroma Wall for case studies and testimonials of beneficiaries - Technology: Glass Projection Content Repurposing and Programming:- 2D/3D/Video/Audio/ Graphics design of relevant topics as per the approved concept in 2 languages (Hindi & English). Should support the resolution 1920 x 1080 pixels | 196 | 15 | Minutes | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.08 | VR Booth Technology: Head mounted device Content Repurposing and Programming:- 3D/Video/Audio/ Graphics design of relevant topics as per the approved concept in 2 languages (Hindi & English). Should support HD/360 panorama content. | 197 | 3 | Nos/ Sites | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.09 | Technology: Transperent LED curtain Content Repurposing and Programming: - 2D/3D/Video/ Audio/ Interactive Content/ Graphics design of relevant topics in 2 languages (Hindi & English). Should support the native resolution of the display, with 1920 x 1080 pixels resolution or required resolution for the proposed technology. | 198 | 4 | Minutes | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.1 | Technology: 65" Floor mounted interactive multitouch display in Visitor Lounge & Deepdive Information Content Repurposing and Programming: - 2D/3D/Video/ Audio/ Interactive Content/ Graphics design of relevant topics in 2 languages (Hindi & English). Should support the native resolution of the display, with 1920 x 1080 pixels resolution or required resolution for the proposed technology. | 199 | 10 | Minutes | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.11 | Technology: 10" tablet for Augmented Reality Application for Model Village Miniature for Table top Exhibit Content Repurposing and Programming: - 2D/3D/Video/ Audio/ Interactive Content & application / Graphics design of relevant topics in 2 languages (Hindi & English). Should support the native resolution of the display, with 1920 x 1080 pixels resolution or required resolution for the proposed technology. | 200 | 1 | Set | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.12 | Technology: 32" Floor mounted interactive standee for feedback zone Content Repurposing and Programming: - 2D/3D/Video/ Audio/ Interactive Content/ Graphics design of relevant topics in 2 languages (Hindi & English). Should support the native resolution of the display, with 1920 x 1080 pixels resolution or required resolution for the proposed technology. | 201 | 1 | Set | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.13 | Content Management System | 202 | 1 | Set | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.14 | Testing and Integration of final content | 203 | 1 | Lumpsum | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.15 | Technology: Interactive Multilingual Audio guide Solutions Content Repurposing and Programming: - Hand held Digital interactive Android based application including devices with multilingual options (Up to 2 languages) | 204 | 15 | Nos | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7 | Comprehensive Annual Maintenance for AV systems | 205 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
7.01 | Comprehensive AMC for 5 years from the date of completion of defect liability period as per terms and conditions of tender - 2nd Year | 206 | 1 | Lumpsum | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7.02 | Comprehensive AMC for 5 years from the date of completion of defect liability period as per terms and conditions of tender - 3rd Year | 207 | 1 | Lumpsum | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7.03 | Comprehensive AMC for 5 years from the date of completion of defect liability period as per terms and conditions of tender - 4th Year | 208 | 1 | Lumpsum | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7.04 | Comprehensive AMC for 5 years from the date of completion of defect liability period as per terms and conditions of tender - 4th Year | 209 | 1 | Lumpsum | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7.05 | Comprehensive AMC for 5 years from the date of completion of defect liability period as per terms and conditions of tender - 5th Year | 210 | 1 | Lumpsum | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7.06 | Comprehensive AMC for 5 years from the date of completion of defect liability period as per terms and conditions of tender - 6th Year | 211 | 1 | Lumpsum | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7.07 | Providing services of One resident engineer for duration of 6 years ( 1 year DLP+5 Years AMC) for 1st Year a) Should be minimum qualification of Diploma in any technical stream such as Electronics , Computers, IT, Electrical, Instrumentaion etc b) Should have minimum of 2 years of experience of working as Residential Engineer with Large organistion and sound knowledge of AV systems c) Should be available during working hours, on all working days, to setup and keep the meeting rooms ready for smooth functionality of the meetings . Certification from AVIXA will be an added advantage. d) Alternate resource resident engineer should be made available in case of absence of the actual resource. e) In case if required the resource should be available on weekends or national holidays | 212 | 1 | Lumpsum | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7.08 | Providing services of One resident engineer for duration of 6 years ( 1 year DLP+5 Years AMC) for 2nd Year a) Should be minimum qualification of Diploma in any technical stream such as Electronics , Computers, IT, Electrical, Instrumentaion etc b) Should have minimum of 2 years of experience of working as Residential Engineer with Large organistion and sound knowledge of AV systems c) Should be available during working hours, on all working days, to setup and keep the meeting rooms ready for smooth functionality of the meetings . Certification from AVIXA will be an added advantage. d) Alternate resource resident engineer should be made available in case of absence of the actual resource. e) In case if required the resource should be available on weekends or national holidays | 213 | 1 | Lumpsum | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7.09 | Providing services of One resident engineer for duration of 6 years ( 1 year DLP+5 Years AMC) for 3rd Year a) Should be minimum qualification of Diploma in any technical stream such as Electronics , Computers, IT, Electrical, Instrumentaion etc b) Should have minimum of 2 years of experience of working as Residential Engineer with Large organistion and sound knowledge of AV systems c) Should be available during working hours, on all working days, to setup and keep the meeting rooms ready for smooth functionality of the meetings . Certification from AVIXA will be an added advantage. d) Alternate resource resident engineer should be made available in case of absence of the actual resource. e) In case if required the resource should be available on weekends or national holidays | 214 | 1 | Lumpsum | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7.1 | Providing services of One resident engineer for duration of 6 years ( 1 year DLP+5 Years AMC) for 4th Year a) Should be minimum qualification of Diploma in any technical stream such as Electronics , Computers, IT, Electrical, Instrumentaion etc b) Should have minimum of 2 years of experience of working as Residential Engineer with Large organistion and sound knowledge of AV systems c) Should be available during working hours, on all working days, to setup and keep the meeting rooms ready for smooth functionality of the meetings . Certification from AVIXA will be an added advantage. d) Alternate resource resident engineer should be made available in case of absence of the actual resource. e) In case if required the resource should be available on weekends or national holidays | 215 | 1 | Lumpsum | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7.11 | Providing services of One resident engineer for duration of 6 years ( 1 year DLP+5 Years AMC) for 5th Year a) Should be minimum qualification of Diploma in any technical stream such as Electronics , Computers, IT, Electrical, Instrumentaion etc b) Should have minimum of 2 years of experience of working as Residential Engineer with Large organistion and sound knowledge of AV systems c) Should be available during working hours, on all working days, to setup and keep the meeting rooms ready for smooth functionality of the meetings . Certification from AVIXA will be an added advantage. d) Alternate resource resident engineer should be made available in case of absence of the actual resource. e) In case if required the resource should be available on weekends or national holidays | 216 | 1 | Lumpsum | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7.12 | Providing services of One resident engineer for duration of 6 years ( 1 year DLP+5 Years AMC) for 6th Year a) Should be minimum qualification of Diploma in any technical stream such as Electronics , Computers, IT, Electrical, Instrumentaion etc b) Should have minimum of 2 years of experience of working as Residential Engineer with Large organistion and sound knowledge of AV systems c) Should be available during working hours, on all working days, to setup and keep the meeting rooms ready for smooth functionality of the meetings . Certification from AVIXA will be an added advantage. d) Alternate resource resident engineer should be made available in case of absence of the actual resource. e) In case if required the resource should be available on weekends or national holidays | 217 | 1 | Lumpsum | 1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures |  |  |  | Each | [47 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information